|  | ......................... pcs. .............................. € .............................. € GEZE motor lock control MST 210 for the safe actuation of the GEZE motor lock IQ lock EL / IQ lock EL DL. With additional potential-free and potential-bound contact for switching or relaying. Dimensions of surface-mounted housing: 140 x 140 x 79 mm (W x H x D) IP rating: IP65 Ambient temperature: 0 – 50 °C |
| --- | --- |